## Service Types
Main Service Type | Mergeable Service Types (separated by semicolons, can contain wildcards) | Merge Gap Tolerance (mm, default 0) | Apply to Compatibility Rule | Apply to Distance Rule | Apply to General Distance Rule | Apply to Support Rule | Apply to Report Rule | Apply to Angle Rule | Apply to Advanced Wall Distance Rule

## Service Distance
Service Types (separated by semicolons, can contain wildcards) | Distance with same Service Type (empty for unbounded) |  | Distance with different Service Types (empty for unbounded) |  | Issue Category (empty for default) | Note
| Minimum (mm) | Maximum (mm) | Minimum (mm) | Maximum (mm)

## Service Compatibility
Service Type | Compatible Service Types (other than itself, separated by semicolons, can contain wildcards) | Note

## Fire Seal Proximity on Walls
Source Fire Seal Types (separated by semicolons, can contain wildcards) | Target Fire Seal Types (separated by semicolons, can contain wildcards) | Vertical Distance with other Fire Seals (mm) | Horizontal Distance with other Fire Seals (mm) | Issue Category (empty for default) | Note

## Fire Seal Proximity on Floors
Source Fire Seal Types (separated by semicolons, can contain wildcards) | Target Fire Seal Types (separated by semicolons, can contain wildcards) | Distance with other Fire Seals (mm) | Issue Category (empty for default) | Note

## Advanced Wall Proximity
Wall Types (separated by semicolons, can contain wildcards) | Source Fire Seal Types (separated by semicolons, can contain wildcards) | Target Fire Seal Types (separated by semicolons, can contain wildcards) | Vertical Distance with other Fire Seals (mm) | Horizontal Distance with other Fire Seals (mm) | Maximum Overhang (mm) | Issue Category (empty for default) | Note

## Fire Seal and Service Distance
Fire Seal Types (separated by semicolons, can contain wildcards) | Allowed Service Types (separated by semicolons, can contain wildcards) | Distance between Services and Fire Seal edges (Floor Fire Seals only utilise the All Sides values ) |  |  |  |  | Issue Category (empty for default) | Note
|  | Minimum All Sides (mm) | Maximum All Sides (mm) | Minimum Top (mm) | Minimum Bottom (mm) | Minimum Sides (mm)

## Service Distance in Fire Seal
Fire Seal Types (separated by semicolons, can contain wildcards) | Source Service Types (separated by semicolons, can contain wildcards) | Target Service Types (separated by semicolons, can contain wildcards) | Distance between Source and Target Service Types (empty for unbounded) |  | Issue Category (empty for default) | Note
|  |  | Minimum (mm) | Maximum (mm)

## Service Angle in Fire Seal
Fire Seal Types (separated by semicolons, can contain wildcards) | Service Types (separated by semicolons, can contain wildcards) | Angle Tolerance in Plan (degrees, empty for default) | Angle Tolerance in Elevation (degrees, empty for default) | Angle Limit in Plan (degrees, empty for default) | Angle Limit in Elevation (degrees, empty for default) | Issue Category (empty for default) | Note

## Fire Seal Dimension
Fire Seal Types (separated by semicolons, can contain wildcards) | Minimum width (mm) | Maximum width (mm) | Minimum height (mm) | Maximum height (mm) | Issue Category (empty for default) | Note

## Fire Seal Position on Walls
Fire Seal Types (separated by semicolons, can contain wildcards) | Distance with Side Compartmentations |  | Distance with Top Compartmentations |  |  | Distance with Bottom Compartmentations |  | Issue Category (empty for default) | Note
| Minimum (mm) | Offset (mm) | Minimum (mm) | Maximum (mm, empty for unbounded) | Offset (mm) | Minimum (mm) | Offset (mm)

## Fire Seal Position on Floors
Fire Seal Types (separated by semicolons, can contain wildcards) | Distance with Side Compartmentations |  | Issue Category (empty for default) | Note
| Minimum (mm) | Offset (mm)

## Fire Seal Clearance on Walls
Fire Seal Types (separated by semicolons, can contain wildcards) | Side Offset (mm) | Top Offset (mm) | Depth (mm) | Bottom Tolerance (mm) | Bottom Depth (mm) | Issue Category (empty for default) | Note

## Fire Seal Clearance on Floors
Fire Seal Types (separated by semicolons, can contain wildcards) | Offset (mm) | Height (mm) | Issue Category (empty for default) | Note

## Wall Support
Fire Seal Type (separated by semicolons, can contain wildcards) | Allowed Service Types (separated by semicolons, can contain wildcards) | Wall Type (separated by semicolons, can contain wildcards) | Width (empty for unbounded) |  | Fire Rate (empty for unbounded) |  | Acoustic Rate (empty for unbounded) |  | Deflection Movement (empty for unbounded) |  | Single/Double Sided (S/D) | Regular/Drop Head Detail (R/D) | Distance with Top Compartmentations (if Regular Detail) |  |  | Single/Multiple Service (S/M) | Perpendicular Service (P/NP) | Issue Category (empty for default) | Note
|  |  | Minimum (mm) | Maximum (mm) | Minimum (min) | Maximum (min) | Minimum (db) | Maximum (db) | Minimum (mm) | Maximum (mm) |  |  | Minimum (mm) | Maximum (mm, empty for unbounded) | Offset (mm)